230mm Axial Fan

401891

Product Description  					230mm fixed grille fan suitable for panel/

wall mounting or window mounting using the

appropriate window accessory kit.  Suitable

for commercial applications in pubs, hotels, restaurants, offices, schools, shops and

factories.

## Key Features

- Simple installation

- External 2 speed reversible on/off controller available

- Manufactured impact resistant high gloss ABS for strength and durability

- Motor fitted with thermal over load protection

Technical Specification                    		Product Range Details

Meets the requirement of Building 		Rated voltage 220-240v 50Hz

Regulation Document F.

IP44 Rated						Rated wattage 90 watts

DEMKO Approved

CE marked in accordance with all the 		Dimensions

relevant  EEC Harmonised Directives

Height		340mm

Width		340mm

Depth		158mm

Double Insulated Class II

Hole Diameters	-	Window 260mm

Wall	   280mm

Airflow

Panel Mount 259lts/sec

Window/wall 190lts/sec

Accessories

Window Kit

Speed Controller